## Product_Prices
SKU_ID | Product_Name | Product_Type | Unit_of_Measure | Base_Price | Last_Updated
CBL001 | Copper Flex Cable 1.5 sqmm | Wire | meter | 55 | 2025-10-15
CBL002 | Copper Flex Cable 2.5 sqmm | Wire | meter | 65 | 2025-10-15
CBL003 | Copper Flex Cable 4 sqmm | Wire | meter | 78 | 2025-10-15
CBL004 | Copper Armoured Cable 6 sqmm | Cable | meter | 105 | 2025-10-15
CBL005 | Copper Armoured Cable 10 sqmm | Cable | meter | 135 | 2025-10-15
CBL006 | Aluminium Power Cable 16 sqmm | Cable | meter | 160 | 2025-10-15
CBL007 | Aluminium Power Cable 25 sqmm | Cable | meter | 190 | 2025-10-15
CBL008 | Aluminium Armoured Cable 35 sqmm | Cable | meter | 230 | 2025-10-15
CBL009 | FRLS Copper Wire 1.5 sqmm | Wire | meter | 60 | 2025-10-15
CBL010 | FRLS Copper Wire 2.5 sqmm | Wire | meter | 70 | 2025-10-15
CBL011 | Heat Resistant Cable 6 sqmm | Cable | meter | 120 | 2025-10-15
CBL012 | Solar DC Cable 4 sqmm | Cable | meter | 95 | 2025-10-15
CBL013 | Control Cable 1.5 sqmm x 4C | Cable | meter | 130 | 2025-10-15
CBL014 | Control Cable 2.5 sqmm x 6C | Cable | meter | 165 | 2025-10-15
CBL015 | Instrumentation Cable 1.5 sqmm | Cable | meter | 150 | 2025-10-15

## Test_Prices
Test_ID | Test_Name | Description | Test_Type | Unit_Cost | Duration (days)
T001 | Conductor Resistance Test | Measures electrical resistance per meter | Electrical | 1200 | 2
T002 | Insulation Resistance Test | Ensures insulation integrity | Electrical | 950 | 1
T003 | High Voltage Test | Applies overvoltage for dielectric strength | Electrical | 1550 | 2
T004 | Fire Retardant Test | Confirms flame resistance | Safety | 2100 | 3
T005 | Tensile Strength Test | Measures mechanical durability | Mechanical | 850 | 2
T006 | Bending Radius Test | Tests flexibility of cable under load | Mechanical | 950 | 1
T007 | Aging Test | Evaluates long-term insulation durability | Thermal | 1100 | 3
T008 | Water Absorption Test | Measures resistance to moisture ingress | Environmental | 1000 | 2
T009 | UV Resistance Test | Evaluates cable sheath performance under UV | Environmental | 1300 | 3
T010 | Heat Shock Test | Tests insulation under rapid temperature change | Thermal | 1150 | 2